## Slide 1
PRAHA
20. BŘEZNA 2025
UIPI RENOVATION TOUR
CZECH PROPERTY OWNERS ON BOARD!
Spolufinancováno Evropskou unií. Názory a stanoviska uvedená v tomto dokumentu jsou výhradně názory autora(ů) a nemusí nutně odrážet názory Evropské unie nebo Evropské výkonné agentury pro klima, infrastrukturu a životní prostředí (CINEA). Evropská unie ani poskytovatel grantu za ně nenesou odpovědnost.

## Slide 2
ÚVOD A PŘIVÍTÁNÍ
CZECH PROPERTY OWNERS ON BOARD!
UIPI RENOVATION TOUR
Emmanuelle Causse, MSc., generální tajemnice
Mezinárodní unie vlastníků nemovitostí (UIPI)
Ing. Milan Krček,
předseda, Občanské sdružení majitelů domů (OSMD)

## Slide 3
SEKCE STRATEGIE A POLITIKA:
hlavní řečníci
Mgr. Ondřej Krutílek,
poslanec Evropského parlamentu
Mgr. Nathalie Marková,
ředitelka odboru energetické účinnosti a úspor, Ministerstvo průmyslu a obchodu (MPO)

## Slide 4
PŘESTÁVKA NA KÁVU
Vrátíme se v 11:00

## Slide 5
SEKCE STRATEGIE A POLITIKA:
kulatý stůl
Emmanuelle Causse, MSc., generální tajemnice
Mezinárodní unie vlastníků nemovitostí (UIPI)
Ing. Milan Krček,
předseda, Občanské sdružení majitelů domů (OSMD)
Ing. arch. Josef Smola, architekt, publicista a pedagog
Mgr. Nathalie Marková, ředitelka odboru energetické účinnosti a úspor, MPO
Ing. arch. Pavel Lejsek, architekt, Šumavaplan, představitel Asociace majitelů hradů a zámků (AMHZ)
Spyros Mathioudakis, MSc., řídící pracovník pro strategii a politiku, Evropská konfederace stavařů (EBC)

## Slide 6
PŘESTÁVKA NA OBĚD
Vrátíme se v 13:30

## Slide 7
WORKSHOP 1:
NÁSTROJE NA PODPORU MAJITELŮ
CZECH PROPERTY OWNERS ON BOARD!
UIPI RENOVATION TOUR

## Slide 8
WORKSHOP 1:
NÁSTROJE NA PODPORU MAJITELŮ
Ing. Vítězslav Malý,
ředitel sdružení,
Centrum pasivního domu

## Slide 9: Energetické úspory nemovitostí cesta k energetické nezávislosti
Nástroje na podporu majitelů
Vítězslav Malý
Vitezslav.maly@pasivnidomy.cz
+420 606 072121
Centrum pasivního domu / Passive house centre CZ

## Slide 10: VNĚJŠÍ VLIVY
Udržitelnost, nebo-li schopnost budovy odolat času a adaptovat se, lze považovat za jeden z úhelných kamenů architektury. Dnes se musíme vypořádat s
Klimatickou krizí – naše společnost se musí ve velmi krátké době adaptovat na přicházející změny. Krizí životních nákladů – volatilita ceny energie přivedla 30% domácností v ČR do ohrožení energetickou chudobou
Kvalita vnitřního prostředí budov - zdraví uživatelů vs. schopnost budovy provozovat
Energetickou krizí – budova je energeticky náročný spotřebič a bez úspor není transformace energetiky možná; renovace jsou resilientní vůči nestabilitě dodávky; energetická bezpečnost, efektivita využití OZE

## Slide 11: Primární energie
obnovitelná složka
neobnovitelná složka
=˃
www.pasivnidomy.cz
Omezené
množství

## Slide 12: Renovace vývoj
75
450
، spotřeba primární
neobnovitelné energie kWh/(m2a)
Energetická nezávislost
+
www.pasivnidomy.cz
+

## Slide 13: Kam míří legislativa
Nová podoba Směrnice o energetické náročnosti budov
Nejpozději od roku 2030 by měly nové budovy být bezemisními
… nesmí spalovat fosilní paliva v budově
… přibližně o 10% až 20% přísnější než dnes
… nákup bezemisní elektřiny ze sítě, nebo vlastní nadvýroba a dodávka do sítě
Renovační strategie má nasměrovat stávající fond budov do roku 2050 k bezemisním budovám.
… přibližně o 10% až 20% přísnější než dnes
Nulové emise nesmějí být chápány doslovně, ale... pragmaticky, selský rozum nechybí
Vícenáklady na realizaci bezemisní budovy mají být chytrou investicí do vlastní nezávislosti…
CPD s konceptem bezemisních budov pracuje již více než 20 let..

## Slide 14: Poradenství 2025
Poradenství NZÚ – EKIS, MAS, stavební spořitelny
EKIS již neexistuje
Renovační pas (2.pol. 2025) má informovat:
  Popsat možnosti renovace nemovitosti (kompletní renovace).
  Navrhnout opatření vedoucí k úspoře energie.
  Doporučit finanční nástroje (dotace) v rámci programů veřejné podpory.
Součástí konzultace (1-2 hodiny)
Vypracování dokumentu zpoplatněno, dotace cca 80%
  Pro nízkopříjmové domácnosti ZDARMA.

## Slide 15: Renovační pas
Renovační pas NENAHRAZUJE:


Legislativou předepsané odborného posouzení nebo energetického posouzení,
Podklad pro získání bankovních záruk, půjček, hypoték nebo jiného druhu
financování.
Nezaručuje získání dotace nebo ani její výši
Není momentálně přílohou žádné žádosti o dotaci.

## Slide 16: Renovační pas / návrh energetických úspor – NEO

## Slide 17: Chytrá renovace
Podstata realizace chytré renovace nespočívá v kompilaci nejmodernějších
technologií …
Je jím CHYTRÝ PŘÍSTUP stavebníka a správné NASTAVENÍ PROCESŮ
kontroly kvality v průběhu návrhu, výstavby a provozu budovy

## Slide 18: Potenciál úspor
DOBRÝ KONCEPT základ kvalitních výsledků a nízkých nákladů
www.pasivnidomy.cz
možnost ovlivnit
náblady
sadání
studie
projekt
realizace

## Slide 19: Význam architektury
www.pasivnidomy.cz

## Slide 20: Renovační desatero
OPTIMALIZACE
www.pasivnidomy.cz
REGULACE

## Slide 21: Metodická příručka MŽP
www.pasivnidomy.cz

## Slide 22: Zateplovací systémy
Součinitel tepelné vodivosti (λ)
Tepelně-izolační omítka
0,04 – 0,150 W/(m·K)
Polystyren
0,036 – 0,045 W/(m·K)
Vakuová izolace
0,002 – 0,008 W/(m·K)
www.pasivnidomy.cz

## Slide 23: Ideální zdroj a distribuce tepla
18. století
20. století
21. století
www.pasivnidomy.cz

## Slide 24: Architektura
Měrná potřeba tepla na vytápění: | 65 kWh / (m2a)
Rok 2014
Foto: Ing. Tomáš Vanický, E-koncept

## Slide 25: Architektura
Měrná potřeba tepla na vytápění: | 24 kWh / (m2a)
Rok 2016
Arch: Ing. arch. Josef Tlustý

## Slide 26: SPRÁVNÁ PRAXE
Projekty Sládková, Arch. Radek Jánošík
Dům dětí a mládeže, Český Krumlov
rok 2017
www.projekty-sladkova.cz

## Slide 27: Příklady správné praxe

## Slide 28: Příklady správné praxe

## Slide 29: Příklady správné praxe

## Slide 30: „NEJLEVNĚJŠÍ ENERGIE JE TA, KTEROU VŮBEC NEPOTŘEBUJEME“

## Slide 31: Děkuji za pozornost
Vítězslav Malý
Vitezslav.maly@pasivnidomy.cz
+420 606 072121
Centrum pasivního domu / Passive house centre CZ

## Slide 32
WORKSHOP 1:
NÁSTROJE NA PODPORU MAJITELŮ
Dr. Civ.eng.-arch. Erwin Mlecnik, Assistant Professor, Delft University of Technology (TUDelft), představitel projektu CondoReno

## Slide 33: Renovating Condominiums Services and tools supporting homeowner associations
Dr. Civ.eng.-arch. Erwin Mlecnik
Delft University of Technology, The Netherlands
UIPI Renovation Tour
Czech Technical University in Prague, 20 March 2025

## Slide 34: CONTENT
01
Energy-saving Renovations
02
Best-practice Examples
03
Renovation Services
04
Tools
05
Conclusion

## Slide 35: Energy-saving renovations
Sources: Global share of buildings and construction final energy demand, 2021 (UN, 2021) & The multiple benefits of energy efficiency improvements (IEA 2014)
Notes: Erwin

## Slide 36: Energy-saving renovations
Source: Ragy Elgendy, questionnaire for homeowner associations, 244 respondents d.d. 3-7-2025, CondoReno-project
Notes: Erwin

## Slide 37: Energy saving renovations
Source: Ragy Elgendy, questionnaire for homeowner associations, 244 respondents d.d. 3-7-2025, CondoReno-project
Notes: Erwin

## Slide 38: Best-practice examples
SOLANOVA was realized in 2005 as the first "Eco-buildings" project of the European Commission in Eastern Europe dealing with a "major renovation" of a large existing building
The building was transformed into Europe’s first 3-litre-panel-building by consequently applying the passive-house-philosophy
Measured annual space heat consumption 2006/07: 20 kWh/m2 - a decrease of more than 90%!
7-storey panel building renovation
Dunaújváros, Hungary
Before renovation After renovation
Pictures © Andreas Hermelink, University of Kassel
Notes: Erwin

## Slide 39: Best-practice examples
• 90% reduction of energy need for heating (guarantee EnerPHit)
• No major maintenance expected after renovation for about 30 years
• Average savings 1087 EUR/year/household 30 years
Energy performance contract feasible
Performance guaranteed renovation 2023 Flat Ellen, Assen, The Netherlands
Before renovation After renovation
Images © Carl-Peter Goossen, Bouwnext
Notes: Erwin

## Slide 40: Renovation Services
Local One-Stop Shops provide Integrated Home Renovation Services (IHRS) that make the complex renovation process simple, tailor-made and accessible to all homeowners
>100 One-Stop Shops providing IHRS to homeowners in Europe
Litoměřice
ECÚK

## Slide 41: Renovation Services
LIFE-project CondoReno: Development of integrated home renovation services for condominium homeowners in the Netherlands and Flanders
In Flanders 20 “energy houses” provide facilitation of decision-making
An energy house provides advice and financial support towards citizens for energy savings in homes.
Mature services for apartments (3/20)
No developed services for apartments (14/20)
CondoReno partner
Emerging/start-up services for apartments (3/20)
Notes: Erwin

## Slide 42: Renovation Services
LIFE-project CondoReno: Development of integrated home renovation services for condominium homeowners in the Netherlands and Flanders
In the Netherlands WNR provides an exemplary market-based model
Organisation: Service bureau & building team, tested renovation concepts
Financing: Long-term financing calculated in service costs,
loan based on government fund
Guarantee: WNR licences, building performance guarantee, quality assurance, guarantee on engineering costs
Process: Feasibility research, design, engineering,
realisation, maintenance, monitoring, replacement
CondoReno partner
Notes: Erwin

## Slide 43: Tools
LIFE-project CondoReno: Development of integrated home renovation services for condominium homeowners in the Netherlands and Flanders
CondoReno already developed multiple support for IHRS
Research: Barriers/opportunities analysis, Stakeholder analysis,
EU IHRS business models overview
Process: Roadmap, training overview, learning network,
digital resource centre
Policy: Fund development, best-practice policy instruments
See: https://condoreno.org
Notes: Erwin

## Slide 44: Tools: research
Possible models to create Integrated Home Renovation Services
Agency model
For example, CoachCoPro services Agence Parisienne du Climat in Paris
Private model
For example, Living-cost neutral renovation services of non-profit organization WNR in the Netherlands
Public model
For example, Municipal services of “energy houses” in Antwerp, Mechelen and Ostend in Belgium

## Slide 45: integrated home renovation service providers
Communication strategy
Gaining trust
Appointing a manager
Matchmaking supply and demand
Legal development
Performance agreements
Propositions and scenarios
Providing financial insight
Leading the process
Decision to apply for a feasibility study
Decision to invest in renovation
Decision to start the renovation
Tools: process
private condominium homeowners
Notes: Erwin

## Slide 46: Tools: policy
    SVVE (NL): national subsidy for homeowner associations carrying out energy saving measures,sustainable heat options and a Highly Energy-efficient Package. Extra subsidy for additional measures and renovation guidance.
    SPOR (NL): national subsidy for min. 30 owners for hiring a process guide.
    National Heat Fund (NL): low-interest loan without transaction costs for homeowner associations for carrying out energy saving measures. Max. €35.000 per apartment right. Some municipalities offer extra interest rate reduction.
    SvN (NL): loan for homeowner associations dealing with a back log in maintenance of apartment buildings, offered by participating municipalities and provinces
    District-related subsidies (NL): e.g. Amsterdam SouthEast: 70% subsidy under conditions: no backlog in maintenance, min 3 energy label steps improvement
    SAH (NL): subsidy for connecting to a heat grid for mixed homeowner associations and housing associations
    “Emergency buyer” fund (BE): for vulnerable households to improve living conditions and energy saving (interest-free loan that is only being paid back after 20 years)
Notes: Walter

## Slide 47: Tools: policy
  Flanders, Belgium:
    Mandatory Energy Performance Certificate for common building parts
    Local: no rent of roof apartments when roof insulation is lacking
    Pool of renovation master planners
  The Netherlands:
    Mandatory minimum deposit of homeowners for the reserve fund for homeowner associations
    Collective development demand-offer to go to gas-free districts
Notes: Walter

## Slide 48: Conclusion
Integrated home renovation services are needed and can be succesfully developed for homeowner associations targeting deep renovation of condominiums
Attention!
      Compared to individual homeowners, homeowner associations need adapted guidance
      Various business models are possible
      Integrated services preferably engage in the whole process
      Monthly financial and energy-saving should be provided
      Policy is rapidly changing
Notes: Walter

## Slide 49
How to find us
CondorenoLife
Life_CondoReno
condoreno.org
LIFE21-CET-HOMERENO-CondoReno
THANK
YOU
This project has received funding from the European Union’s Programme for Environment and Climate Action (LIFE) MGA — Multi & Mono, under grant agreement No. 101076316. Views and opinions expressed are however those of the author(s) only and do not necessarily reflect those of the European Union or CINEA. Neither the European Union nor the granting authority can be held responsible for them.

## Slide 50
WORKSHOP 1:
NÁSTROJE NA PODPORU MAJITELŮ
Ing. Zbyněk Drbal, ředitel Odboru řízení a podpory programů, Státní fond životního prostředí

## Slide 51
Program podpory energetických úspor
NZÚ 2025+

## Slide 52: Výzvy programu NZÚ od 2025
Rodinné domy – Modernizační fond
NZU Light – základní program – dílčí opatření
NZU Oprav dům po babičce – celkové zateplení
Bytové domy – Modernizační fond
NZU pro BD – základní program (pro fyzické a právnické osoby, zahrnuje podporu novostaveb)
NZU pro BD – SVJ a bytová družstva (pouze pro uvedené žadatele, možnost čerpání 100% zálohy, nízkopříjmové domácnosti a sociální byty)
NZU pro BD – veřejná správa, obce, příspěvkové organizace (pouze pro uvedené žadatele, vyšší míra podpory, sociální byty)
NZÚ Light – výměna zdrojů pro nízkopříjmové domácnosti

## Slide 53: Vývoj počtu přijatých žádostí celkem
Chart: Počet žádostí (v tisících)
| 2021 | 2022 | 2023 | 2024 | 2025
Tisíce žádostí | 4.851 | 86.5 | 191.069 | 286.63 | 294.637
Miliony dotace | 700.1113 | 17864.9066 | 43277.4646 | 74258.4993 | 79493.7476

## Slide 54: Přijaté žádosti – rozdělení podle aktivit
Chart: 
| Ostatní | Dešťovka (hospodaření s vodou) | Dobíjecí stanice pro elektromobily | Fotovoltaické systémy | Novostavby | Řízené větrání s rekuperací | Systémy pro ohřev teplé vody | Tepelná čerpadla | Zateplení | Zdroje na biomasu
Počty žádostí | 5080 | 11214 | 65167 | 188588 | 2898 | 4239 | 6414 | 54186 | 37839 | 19578

## Slide 55
BYTOVÉ DOMY

## Slide 56
Chart: NZÚ21+ a NZÚ23+ bytové domy
| 2021 | 2022 | 2023 | 2024 | 2025
Celkem Požadovaná dotace | 38707772.74 | 1641798690.76 | 5114637813.31 | 11927951219.31 | 13452444457.31
Celkem Počet žádostí | 66 | 1417 | 4469 | 8728 | 9495

## Slide 57
Chart: NZÚ21+ a NZÚ23+ bytové domy
| 2021 | 2022 | 2023 | 2024 | 2025
NZÚ21+ BD | 66 | 1351 | 1994 | 0 | 0
NZÚ23+ BD - SVJ | 0 | 0 | 490 | 2139 | 455
NZÚ23+ BD - FO a PO | 0 | 0 | 505 | 1970 | 294
NZÚ23+ BD - obce | 0 | 0 | 63 | 150 | 18

## Slide 58
Chart: NZÚ21+ a NZÚ23+ rozdělení podle aktivit
| Ostatní | Systémy pro ohřev teplé vody | Stínicí technika | Dešťovka (hospodaření s vodou) | Řízené větrání s rekuperací | Zdroje na biomasu | Dobíjecí stanice pro elektromobily | Tepelná čerpadla | Fotovoltaické systémy | Zateplení
Počet žádostí | 155 | 108 | 160 | 203 | 211 | 360 | 808 | 1076 | 2762 | 5418

## Slide 59
Bytové domy
NZÚ pro SVJ a bytová družstva
NZÚ pro fyzické a právnické osoby
NZÚ pro veřejnou správu
Podporovaná úsporná opatření u bytových domů

## Slide 60: Základní podmínky – fyzické a právnické osoby
Oprávněný žadatel
  Vlastník stávajícího bytového domu
  Stavebník nového bytového domu (nebo nabyvatel bytové jednotky)
Maximální míra podpory:
  až 50 % - počítáno na každé opatření
  dotační bonusy se do základní míry podpory nezapočítávají = zvyšují výslednou míru podpory
Zvýhodnění pro památkově chráněné budovy
    Mírnější technické požadavky
Dotace vyplácena ex-post – po realizaci

## Slide 61
Bonusy – všichni žadatelé
Kombinační bonus - 20 000 Kč za každou kombinaci opatření
  Např. zateplení + FVE = bonus 20 000 Kč; zateplení + FVE + dešťovka = bonus 40 000 Kč
Bonus za environmentální hodnocení pro oblast A, B až 60 000 Kč
Bonus +10 % pro vybrané regiony (vymezeny v Akčním plánu Strategie regionálního rozvoje 2021+) a kraje (Moravskoslezský kraj, Karlovarský kraj a Ústecký kraj)

## Slide 62
Příklady bytových domů
Praha
Fyzické a právnické osoby

## Slide 63
NAVRHOVANÁ OPATŘENÍ I.
Rekonstrukce zděného BD z roku 1920 19 bytových jednotek Praha 8 realizace 2023
Optimální zateplení
Zateplení obvodových stěn šedý EPS - 150 mm

## Slide 64
DOLOŽENÉ CELKOVÉ NÁKLADY 3,009 mil. Kč
DOLOŽENÉ CELKOVÉ ZPŮSOBILÉ NÁKLADY 3,009 mil. Kč
DOTACE CELKEM 1,162 mil. Kč
38,6 % míra podpory
NZÚ BD
Optimální zateplení
Fyzické osoba
Optimální zateplení 1 162 426 Kč

## Slide 65
ENERGETICKÁ NÁROČNOST BUDOVY
CELKOVÁ DODANÁ ENERGIE
C
F
PRIMÁRNÍ NEOBNOV. ENERGIE
E
G
Průměrný součinitel prostupu tepla
C
G
Snížení spotřeby tepla na plynovém vytápění až o 65 % Úspora nákladů na plynovém vytápění 340 tis. Kč/rok
276 MWh/rok 122 MWh/rok

## Slide 66
NAVRHOVANÁ OPATŘENÍ II.
Rekonstrukce a nástavba zděného BD z roku 1900 12 bytových jednotek Praha 2 realizace 2023
Zateplení památky
Zateplení obvodových stěn dvora minerální vlákna – 200 mm
Nástavba z plynosilikátových tvárnic 375 mm a minerální vlákna – 200 mm
Zateplení sedlové a pultové střechy minerální vlákna – 200 mm a dřevovláknitá izolace – 150 mm
Zateplení terasy XPS – 300 mm
Zateplení podlahy na terénu EPS – 120 mm
Špaletová dřevěná okna do ulice, dřevěná okna do dvora – Uw = 0,90 W/m²K
Ateliérové střešní okno, střešní dřevěná okna – Uw = 0,90 W/m²K
Vchodové dveře ulice/dvůr – Ud = 1,00/1,20 W/m²K
Stínící technika – venkovní žaluzie do dvora

## Slide 67
DOLOŽENÉ CELKOVÉ NÁKLADY 8,256 mil. Kč
DOLOŽENÉ CELKOVÉ ZPŮSOBILÉ NÁKLADY 8,256 mil. Kč
DOTACE CELKEM 1,705 mil. Kč
20,7 % míra podpory
NZÚ BD
Zateplení památky
Právnická osoba
Zateplení památky 1 705 225 Kč

## Slide 68
ENERGETICKÁ NÁROČNOST BUDOVY
CELKOVÁ DODANÁ ENERGIE
C
G
PRIMÁRNÍ NEOBNOV. ENERGIE
C
G
Průměrný součinitel prostupu tepla
D
G
Snížení spotřeby tepla na elektrické vytápění až o 56 % Úspora nákladů na elektrická vytápění 266 tis. Kč/rok
221 MWh/rok 105 MWh/rok

## Slide 69
REALIZOVANÁ OPATŘENÍ

## Slide 70
Děkuji za pozornost
Ing. Zbyněk Drbal
Státní fond životního prostředí

## Slide 71
WORKSHOP 1:
NÁSTROJE NA PODPORU MAJITELŮ
OTÁZKY A ODPOVĚDI
CZECH PROPERTY OWNERS ON BOARD!
UIPI RENOVATION TOUR

## Slide 72
WORKSHOP 2: EFEKTIVNÍ A CENOVĚ DOSTUPNÁ OBNOVA BUDOV Z 50. A 60. LET
CZECH PROPERTY OWNERS ON BOARD!
UIPI RENOVATION TOUR

## Slide 73
WORKSHOP 2: EFEKTIVNÍ A CENOVĚ DOSTUPNÁ OBNOVA BUDOV Z 50. A 60. LET
Ana Verónica Martínez, MSc., technický a projektový referent, UIPI, představí projekt BuildUpSpeed

## Slide 74: Bridging the Gap: Connecting the Market, Innovative Solutions, and Professionals
Ana Veronica Martinez - UIPI
Notes: Welcome words
Present my self and the team
The overall aim of BuildUpSpeed is to accelerate the volume and depth of deep renovation of the EU building stock, supporting the EU renovation wave.
This will be done by the introduction and implementation of a Market Activation Platform, an online open source, specifically for the promotion and implementation of industrialized renovation solutions.

## Slide 75
Why BuildUPspeed?
Need to SPEED UP AND MASSIFY the renovation of our building stock!
We need to find a SUSTAINABLE AND SCALABLE WAY to accelerate this process: INDUSTRILISE?
Knowledge and solutions already exists on industrialised, plug and play solutions (notably from research from EU projects)
But construction professionals, potential investors, project managers and market actors are not aware of them
We need to make sure that we CENTRALISE this information, solutions and accompany the uptake: PLATFORM where various actors can go and pick and choose
EU project More Connect project demo
Notes: BuildUPspeed represents a spin-off from these cluster activities:
  Strategic collaborative objective of capitalizing lessons learned and key exploitable results
  To make the step from exploitation to a real market uptake of innovative renovation practices in Europe
  Focusing on the market uptake of industrialized solutions, both on product and on process, including technical and economic performance in the life cycle, investment risks analysis, innovative crowd-based mechanisms, and the evaluation of the effect on the global environment.
In BuildUPspeed we want to capitalize all the results and outcomes from relevant and related (H2020) projects on deep renovation, specifically projects and actions on prefabrication, modularity, circularity, BIM adaptation for renovation and industry 4.0.
BuildUPspeed will also use the approach and utilize networks of several chapters of the ‘Energiesprong’ and ‘Stroomversnelling’

## Slide 76: The BuildUPspeed Objectives
Supply
Demand
Bring the demand side and supply side in the retrofitting market together by scaling up Renovation
Notes: Why: BuildUPspeed aims to contribute to the decarbonization of the EU building stock and to accelerate deep renovation processes by fostering a market uptake of valuable key results of EU projects and available technologies
BuildUPspeed will develop and implement digital and physical Retrofitting Market Activation Platforms, and will validate them on a national MS level in five Pilot Markets and pop-up Factories, representative of singular social-geographical-economical-policy ecosystems in Europe with the objective for a further roll out in other MS’s and at the European level

## Slide 77: The BuildUPspeed key pillars:
BIM modelling, industrialised solutions, networks
Market Activation Platform: an online open-source platform
1.
3.
“Local” or “Pop-up” factory concept introduction
4.
Guaranteed performance products
5.
Inventory of needs, actors and capacities, flows within local context.
2.
Notes:   Clustering of efforts and evidence capitalizing key outputs on modular and industrialized deep renovation solutions, BIM adaptation, successful networks, etc.
  Inventory of (end-user) needs, actors & capacities, (material and energy) flows and buildings & spaces within a local context (i.e., on neighbourhood/eco-system level). This is an important intermediate step before developing a market activation hub
  Digitalizing these key outputs to make them attractive to end-users and easily accessible in virtual Market Activation Hub, in an on-line open-source platform. The Hub brings together supply and demand and defines the market for modular deep-renovation products and concepts
  Introducing the concept of fully automated ‘Local’ or ‘Pop-up’ factories and implement this as pilots in a five locations in the countries, involved in BuildUPspeed and three additional locations.
  Offering attractive and understandable information on evidence-based performances of renovated buildings to user/owners in order to show the potential of industrialized solutions to reduce the performance gap (both on energy and IEQ).
European Bauhaus aims to be a creative and interdisciplinary movement, to develop a meeting space where sustainable practices are recovered, the most visionary current practices are valued and future ways of living are designed, at the crossroads of art, culture and science

## Slide 78: Market Activation Platform
A landing page drives the user to different options
The CATALOGUE screens have a map and a panel
1. Exploration:
What is available for me?
3. Realization:
from IT to real
Click on CARDS give more information
FUNCTIONALITIES
2. Calculation:
How it fits in my building/plans?
4. Exhibition:
examples of successful cases.

## Slide 79: Energiesprong
Before renovation works:
- DPE: F
- Energy consumption: 19.6 MWh ef/log
- Heating and DHW by gas boiler, single flow CMV and low insulation
After renovation works:
-DPE: A -62 kWhep/m².year
- Energy consumption: 4.9 MWh ef/log
- Heating and DHW by heat pump boiler, double flow CMV and high-performance insulation
- Pre-fabricated components
- Sustainable energy systems installation
- No disturbance, rapid implementation
- Cost reduction and comfort increased
- Easy for replicability

## Slide 80
WORKSHOP 2: EFEKTIVNÍ A CENOVĚ DOSTUPNÁ OBNOVA BUDOV Z 50. A 60. LET
Ing. arch. Josef Tlustý,
architekt města Příbram

## Slide 81: Renovace historických budov
Ing. arch. Josef Tlustý
20.3.2025

## Slide 82
…DESATERO
Principy dobré renovace

## Slide 83: PŘEDPOKLADY ÚSPĚŠNÉ RENOVACE
vhodné umístění budovy,
možnost provedení zateplení obálky budovy,
výměna nebo doplnění kvalitních výplní otvorů,
aplikace větrání s rekuperací,
efektivita energetického řešení

## Slide 84: PŘEDPOKLADY ÚSPĚŠNÉ RENOVACE

## Slide 85: 01.
Budova v PPR
Byty v Karmelitské ulici
v Praze

## Slide 86: Byty v Karmelitské ulici v Praze - umístění budovy

## Slide 87: Byty v Karmelitské ulici v Praze - umístění budovy

## Slide 88: Byty v Karmelitské ulici v Praze - umístění budovy

## Slide 89: Byty v Karmelitské ulici v Praze - umístění budovy

## Slide 90: Byty v Karmelitské ulici v Praze - umístění budovy

## Slide 91: Byty v Karmelitské ulici v Praze - umístění budovy

## Slide 92: Byty v Karmelitské ulici v Praze - umístění budovy

## Slide 93: 02.
Památkově chráněná budova
Stáje v Lysé nad Labem

## Slide 94
Stáje v Lysé n/L - umístění budovy

## Slide 95: Stáje v Lysé n/L - umístění budovy

## Slide 96
Stáje v Lysé n/L - umístění budovy

## Slide 97: Stáje v Lysé n/L - umístění budovy
- vhodné umístění budovy,
- možnost provedení zateplení obálky budovy,
- výměna nebo doplnění kvalitních výplní otvorů,
- aplikace větrání s rekuperací,
- efektivita energetického řešení

## Slide 98: Stáje v Lysé n/L - umístění budovy

## Slide 99: Stáje v Lysé n/L - umístění budovy

## Slide 100: Stáje v Lysé n/L - umístění budovy

## Slide 101: Stáje v Lysé n/L - větrání s rekuperací

## Slide 102: Stáje v Lysé n/L - umístění budovy

## Slide 103: Stáje v Lysé n/L - umístění budovy

## Slide 104: Stáje v Lysé n/L - umístění budovy

## Slide 105: 03.
Budova v ochranném pásmu
Farní úřad v Praze Michli

## Slide 106: Farní úřad v Praze Michli - umístění budovy

## Slide 107: Farní úřad v Praze Michli - umístění budovy

## Slide 108: Farní úřad v Praze Michli - umístění budovy

## Slide 109: Farní úřad v Praze Michli - umístění budovy

## Slide 110: Farní úřad v Praze Michli - umístění budovy

## Slide 111: Farní úřad v Praze Michli - umístění budovy

## Slide 112: Farní úřad v Praze Michli - umístění budovy

## Slide 113: Děkuji za pozornost
Ing. arch. Josef Tlustý, Atelier Tlustý
+420 602 732 843
josef.tlusty@gmail.com

## Slide 114
WORKSHOP 2: EFEKTIVNÍ A CENOVĚ DOSTUPNÁ OBNOVA BUDOV Z 50. A 60. LET
OTÁZKY A ODPOVĚDI
CZECH PROPERTY OWNERS ON BOARD!
UIPI RENOVATION TOUR

## Slide 115
PŘESTÁVKA NA KÁVU
Vrátíme se v 16:00

## Slide 116
WORKSHOP 3: VYTVÁŘENÍ BUDOUCÍCH MĚST A
ZACHOVÁNÍ NAŠEHO DĚDICTVÍ
CZECH PROPERTY OWNERS ON BOARD!
UIPI RENOVATION TOUR

## Slide 117
WORKSHOP 3: VYTVÁŘENÍ BUDOUCÍCH MĚST AZACHOVÁNÍ NAŠEHO DĚDICTVÍ
Ing. Mgr. Michal Kuzmič, Vedoucí obchodu a mezioborové spolupráce, Univerzitní centrum energeticky efektivních budov (ČVUT), reprezentant projektu CrAFt

## Slide 118: THE BENEFITS OF SHARING LIVING THE ENERGY TRANSITION IN RESIDENTIAL SECTOR Michal Kuzmič head of business and interdisciplinary collaboration 20. 03. 2025 uiPI RENOVATION TOUR, PRAGUE

## Slide 119: ČVUT UCEEB (TŘINECKÁ 1024 BUSHRAD)
UCEEB was created thanks to the cooperation of the Faculty of Civil, Mechanical, Electrical and Biomedical Engineering
Building open since 2014
We are a bridge between industry and the university
We focus on buildings and their new technologies
www.uceeb.cz
VIDEO: https://www.youtube.com/watch?v=fnhU0K4HYOo&t=118s
UCEEB
FSv
FS
FBMI
FEL
OUR GOALS
Bringing innovation from research to practice
We are consciously playing our part in shaping the future of construction
Our focus are buildings, neighbourhoods and cities
  environmentally friendly
  support the sustainable development of society
  provide their users with a healthy and comfortable indoor environment

## Slide 120: ENERGY INTEGRATION OF BUILDING CLUSTERS
Carbon-neutral and positive energy districts
Resource design for existing and new building sets
De-carbonisation of heat supply systems
Energy sharing groups, energy communities
Energy flexibility management
Listed buildings
NCK CAMEB
OPTICOMM
PARTYSOFT
POWER2HEAT4CITIES
RESPED

## Slide 121
MANAGEMENT
TECHNICAL
ECONOMIC
SOCIAL
DIMENSIONS OF ASSETS
SMART MANAGEMENT
CYBERSECURITY
RESILIENCE
DAY-AHEAD
STABILISATION OF THE TRADER
LOCAL AGGREGATOR
POWER BALANCE SERVICES
LDS
TECHNICAL REDISTRIBUTION
FINANCIAL REDISTRIBUTION
FAIR REDISTRIBUTION
EC SECURITY
EC'S RESPONSIBILITY TO THE NETWORK
SOCIAL RESPONSIBILITY
ECOLOGICAL OPTIMIZATION
COMMUNITY
ENERGY COMMUNITY LEVELS
Source: Josef Haber, CTU UCEEB

## Slide 122: In Czechia, state-led policy matters: channelled to post-industrial Northern areas
Financial support for housing cooperatives in Czechia concentrates in two subregions.
These are subregions historically dependent on coal mining - lignite mines in Most Basin (North Bohemia) and black coal in Ostrava-Karvina Basin (North Moravia-Silesia).
Instruments such as Green Savings, Panel+.
Source: Jan Frankowski, Tomasz Świetlik, Aleksandra Prusak, Joanna Mazurkiewicz, Jakub Sokołowski, Wojciech Bełch, Nicol Staňková. Housing cooperatives facing the energy transition. Insights from Poland and Czechia, OPUS call in the Weave programme (2021/43/I/HS4/03185).

## Slide 123: Energy renovation investments reduce emissions and generate savings, but to a limited extent
Chart: [kWh/(m² ⋅ year)]
| municipal | TBS | housing associations | housing cooperatives
before thermomodernisation | 327 | 298 | 280 | 176
Chart: [GJ]
| municipal | TBS | housing associations | housing cooperatives
before thermomodernisation | 877 | 773 | 1185 | 1384
Average value of primary energy consumption
before and after energy renovations
Average annual value of central heating consumption before and after energy renovations
Source: own elaboration based on Statistics Poland: Development of methodology and realisation of a survey of a thermo-modernization activity scale in multi-dwelling residential buildings. In the report, data were collected for the period 2010-2016.

## Slide 124: Differentiated impacts of energy crisis
Case Česká Lípa (OSBD)
More aCentral Co-op OSBD Česká Lípa was continuously dissatisfied with policy of the foreign district heating system operator.
nd more buildings cut off the system and left the OSBD.
The heating system was endangered by economic and technical collapse
OSBD fixed costs per housing unit rose.
SOLUTION: OSBD stepped into the district heating operator by buying 20% shares
The crisis affected mostly buildings individually heated by natural gas.
The government introduced a flat subsidy for electricity, natural gas and heating for each household in Czechia.
The trend of cutting off from the district heating grids was reversed - now raising interest in being connected (e.g. Kutná Hora).
Rising interest in renewable independent energy sources.

## Slide 125
ENERGY COMMUNITIES
Residential sector mobilisation
Mobilization
Redistribution
Gamification

## Slide 126
ENERGY COMMUNITY CONCEPT
Economy at individual block of flats level
Source: Wojciech Belch, CTU UCEEB
Return period, based on financing modality

## Slide 127: SPARCS KLADNO: EXISTING BUILDINGS
(1) TERRITORY SELECTION
Source: CTU UCEEB (SPARCS 2020)
(2) NAMING OPPORTUNITIES
Municipal buildings
Distribution system operator
BD, SVJ, private individuals
Industrial enterprises and services
(3) FINDING A MODEL OF COOPERATION
Consumption
Production
Heating plant/
power plant
(4) PRIORITISATION OF PROJECTS
Notes: Other similar to Kněžice, Budišov nad Budišovkou
The micro power plant in Mikolajice heats and supplies electricity to three buildings owned by the municipality - the municipal office, the fire station and the grocery store.
"The project, which includes photovoltaics, battery storage, heat and power distribution throughout all three buildings, works exactly as we de facto dreamed it would. We supply the electricity and we supply the heat to the buildings. In the event of a power outage, we are able to go in what is known as off grid and supply the buildings with electricity for a minimum of 12 hours," says Mikolajice Mayor Martin Krupa.
The total cost of the project, excluding VAT, amounted to CZK 4.4 million. Eighty percent of the costs were covered by the subsidy, the municipality paid CZK 900,000 from its own funds. Mikolajice expects to save CZK 200,000 annually on electricity and the heating engineer's salary, so the costs should be recovered within five years.

## Slide 128
ASCEND: NEW CONSTRUCTION
Partners: Operator ICT, Prague Development Company (TBD: Prague Renewable Energy Centre)
Location: Dolní Počernice, Stage II
1600 inhabitants,129 thousand m2 , school 12 thousand m2
Local heat supply network, maximization of local production from PV plants, examination of hydrogen economy
Accelerate poSitive Clean ENergy Districts
Source: the Prague Development Company, Archum

## Slide 129: RESILIENT ENERGY COMMUNITY IN PED KUKLENY
Residential buildings, over 400 residential units
Virtual boundaries of a carbon-neutral district, will use wind farms as a source of RES in winter
Avoids the dilemma of excessive imbalance of EE production in summer and winter
By purchasing a flat, the owners of the flats become members of the energy community
The aim of the UCEEB is to verify by simulation whether this model will provide energy resilience
Source. Author of the energy concept Petr Vogel
RESPED

## Slide 130: RES SOLUTIONS FOR HISTORIC BUILDINGS
MonuPED - Mainstreaming governance, co-investment and technology solutions for Positive Energy Districts in monument protected areas 2025+

## Slide 131: PILOTING ENERGY FLEXIBILITY ON A FAMILY HOME
NCK CAMEB
Power sources: solar + grid + battery (Enyaq second-life car)
Model-based predictive control (using weather + load forecasting)
Heuristic algorithm for flexible hourly energy trading (buy/sell)
Operation from 2021, energy sales added 2022
Detailed measurements (24 channels), indoor air quality, water consumption, etc.
Local energy forecast model based on sky tracking (www.PVforecast.cz)
Source.

## Slide 132: FUTURE? AGGREGATING DEMAND-RESPONSE
A Global as well as Local Flexibility Marketplace to Demonstrate Grid Balancing Mechanisms through Cross-sectoral Interconnected and Integrated Energy Ecosystems enabling Automatic Flexibility Trading (No. 101096399)
Building portfolio management using HVAC and RES energy on-site flexibility (Kladno and Prague, Czech Republic)

## Slide 134: Thank you for your attention michal.kuzmic@cvut.cz

## Slide 135
WORKSHOP 3: VYTVÁŘENÍ BUDOUCÍCH MĚST A ZACHOVÁNÍ NAŠEHO DĚDICTVÍ
OTÁZKY A ODPOVĚDI
CZECH PROPERTY OWNERS ON BOARD!
UIPI RENOVATION TOUR

## Slide 136
1. Domníváte se, že je součástí i vaší odpovědnosti (jako místního vlastníka) zapojit se do zlepšování udržitelnosti, sociálního prostředí a estetiky vaší čtvrti?
The Slido app must be installed on every computer you’re presenting from
Do not edit How to change the design

## Slide 137
2. Který z následujících aspektů života ve vaší čtvrti je pro vás nejdůležitější?
The Slido app must be installed on every computer you’re presenting from
Do not edit How to change the design

## Slide 138
3. Za jak důležité považujete zachování původních architektonických detailů (estetického stylu) budovy oproti úpravám, které by zlepšily energetickou účinnost a funkčnost budovy?
The Slido app must be installed on every computer you’re presenting from
Do not edit How to change the design

## Slide 139
4. Co považujete za největší problém při renovaci budov postavených před druhou světovou válkou?
The Slido app must be installed on every computer you’re presenting from
Do not edit How to change the design

## Slide 140
Jakým způsobem lze při renovacích vyvážit požadavek na zachování historické a estetické hodnoty budovy a zároveň do projektu začlenit moderní funkce, jako je energetická účinnost a udržitelnost?

## Slide 141
6. Doufáme, že se vám konference líbila! Jak byste jí ohodnotil/a z pohledu její užitečnosti?
The Slido app must be installed on every computer you’re presenting from
Do not edit How to change the design

## Slide 142
ZÁVĚREČNÉ POZNÁMKY
CZECH PROPERTY OWNERS ON BOARD!
UIPI RENOVATION TOUR
Emmanuelle Causse, MSc., generální tajemnice
Mezinárodní unie vlastníků nemovitostí (UIPI)
Ing. Milan Krček,
předseda, Občanské sdružení majitelů domů (OSMD)

## Slide 143
THANK YOU!